## Slide 2
Selection software guide
Selection software for DUPLEX units -
first steps

## Slide 3
Selection SW – Adding a unit
1. Start the software you installed and select Add a new equipment

## Slide 4
2. In the Add a unit wizard enter required parameters
Units highlighted in bold match the selected criteria.
Required air volume
Indoor or outdoor installation
Further criteria
Selection SW – Adding a unit

## Slide 5
3. Select a name under which the unit will appear in the project
4. Choose a climatic zone. The software will enter summer and winter air temperature and relative humidity data
Selection SW – Adding a unit

## Slide 6
Selection SW, Configuration of the unit
5. In the Design tab choose the required Position and Configuration of ports
Click on Position to open the wizard

## Slide 7
In the wizard select the required Position
In a similar way select the detailed Position and Configuration of ports
Selection SW, Configuration of the unit

## Slide 8
6. In the Operation point tab enter External static pressure needed for air transport
7. Choose Filtration class
Selection SW, Configuration of the unit

## Slide 9
9. Check Exhaust air temperature and relative humidity
8. Adjust supply air temperature by adding Heating or Cooling
Selection SW, Configuration of the unit

## Slide 10
  10. In the Controls tab check the selected control system of the unit
The RD5 control system makes it possible to connect to the unit over the internet or use a touch-screen controller.
Selection SW, Configuration of the unit

## Slide 11
Selection SW – Exporting a project
  11. Print your project or save it as a PDF file
  Choose Project > Print or Export to PDF

## Slide 12
  12. Save your data in DXF or IFC (BIM)
  Choose Design > Export to DXF / BIM
Selection SW – Exporting a project

## Slide 13
  1.
  2.
Selection SW – Other information
  Unit catalog
  For more information about our units see the catalog included in the SW. Click on the unit you added to your project and select Catalog sheets.
  Data sheet
  Marketing brochure
  Video presentation
  For more information go the selection SW website at www.atrea.com/en/duplex-en and the manufacturer‘s website at www.atrea.com.

## Slide 14: Thank you for your attention.
ATREA s.r.o. / Československé armády 32, Jablonec nad Nisou 466 05, tel. 483 368 111, www.atrea.cz